## Sheet1
Relay room opening position on dt:-14/12/2025
Sr No | Date | Station | Opening time | Closing time | Duration in Hours | Duration in Minutes | Reason for opening | CSI | Sr.No. For open | Sr. No. For Close | As per D/L Opening time | As per D/L Closing time | CODES for reasons
1 | 14/12/2025 | JKA | 08:50 | 14:45 | 5:55 | 355 | For new earthing provided work | SBI | 1 | 19 |  |  | WORK/OL
2 | 14/12/2025 | CE LC-32 | 09:35 | 13:25 | 3:50 | 230 | For schedule maintenance work | SBI | 2 | 14 |  |  | REG/MNT
3 | 14/12/2025 | DKW HUTB | 09:55 | 12:55 | 3:00 | 180 | For schedule maintenance work | PNU | 3 | 13 |  |  | REG/MNT
4 | 14/12/2025 | GIMC | 10:05 | 15:10 | 5:05 | 305 | For S&T Construction staff working | GIM | 4 | 21 |  |  | WORK/CON
5 | 14/12/2025 | MITA | 10:40 | 15:00 | 4:20 | 260 | Fire alarm AMC & EI AMC work | PNU | 5 | 20 |  |  | AMC/AFDAC,AMC/EI
6 | 14/12/2025 | DVY LC-79 | 10:50 | 12:15 | 1:25 | 85 | For schedule maintenance work | DHG | 6 | 10 |  |  | REG/MNT
7 | 14/12/2025 | VDG | 11:45 | 17:40 | 5:55 | 355 | For EI inbuild block pre work | N-MSH | 7 | 35 |  |  | MISC
8 | 14/12/2025 | COE HUTB | 11:50 | 15:40 | 3:50 | 230 | For LC-178 road signal supply checking work | SIOB | 8 | 23 |  |  | ANALYSIS
9 | 14/12/2025 | GGM | 12:15 | 16:35 | 4:20 | 260 | For Auto signalling work | SBI | 9 | 27 |  |  | WORK/OL
10 | 14/12/2025 | ADI | 12:30 | 17:30 | 5:00 | 300 | For new earthing work | ADI | 11 | 31 |  |  | WORK/OL
11 | 14/12/2025 | SBTA | 12:55 | 15:25 | 2:30 | 150 | For slot no.301 failure investigation work | SBI | 12 | 22 |  |  | FAIL/ANALYSIS
12 | 14/12/2025 | SAU | 13:45 | 17:35 | 3:50 | 230 | For Pt.no.145/146 power supply checking work | SBI | 15 | 32 |  |  | ANALYSIS
13 | 14/12/2025 | COE | 14:05 | 16:30 | 2:25 | 145 | For LC-178 road signal supply checking & COE/KYG singal cpu attending work | SIOB | 16 | 26 |  |  | ANALYSIS
14 | 14/12/2025 | AAR | 14:15 | 17:05 | 2:50 | 170 | For EI amc work | SIOB | 17 | 30 |  |  | AMC/EI
15 | 14/12/2025 | UMN | 14:40 | 17:40 | 3:00 | 180 | For SI Inspection & fire alarm amc work | KLL | 18 | 34 |  |  | INSP/SSE & AMC/AFDAC
16 | 14/12/2025 | ADI NGF | 15:45 | 16:40 | 0:55 | 55 | For slot no.301 circuit checking work | ADI | 24 | 28 |  |  | ANALYSIS
17 | 14/12/2025 | CDS HUT2 | 16:20 | 17:35 | 1:15 | 75 | For schedule maintenance work | PNU | 25 | 33 |  |  | WORK/OL
18 | 14/12/2025 | JKA | 16:50 | 19:40 | 2:50 | 170 | For new earthing provided work | SBI | 29 | 36 |  |  | WORK/OL

## Sheet2
Relay room opening position on dt. 26/10/2024
Sr No | Date | Station | Opening time | Closing time | Duration in Hours | Duration in Minutes | Reason for opening | CSI | Sr.No. For open | Sr. No. For Close | As per D/L Opening time | As per D/L Closing time
1 | 26/10/2024 | RUT | 10:10 | 15:25 | 5:15 | 315 | For signal ECR fuse rating checking | GIM | 10 | 55 | 10:22 | 15:08
2 | 26/10/2024 | PLE | 10:15 | 13:50 | 3:35 | 215 | For signal ECR fuse rating checking | RDHP | 12 | 38 | 10:20 | 13:46
3 | 26/10/2024 | DHG | 10:20 | 14:45 | 4:25 | 265 | For signal ECR fuse rating checking | DHG | 13 | 46 | 10:24 | 14:40
4 | 26/10/2024 | GIMA | 10:45 | 12:50 | 2:05 | 125 | For signal ECR fuse rating checking | GIM | 16 | 28 | 10:47 | 12:46
5 | 26/10/2024 | VONB | 10:45 | 13:50 | 3:05 | 185 | For signal ECR fuse rating checking | GIM | 17 | 39 | 10:47 | 12:38
6 | 26/10/2024 | AAR | 11:40 | 13:00 | 1:20 | 80 | For signal ECR fuse rating checking | SIOB | 21 | 30 | 11:41 | 12:41
7 | 26/10/2024 | LCH | 13:35 | 15:55 | 2:20 | 140 | For signal ECR fuse rating checking | BR-MSH | 37 | 60 | 13:39 | 15:52
8 | 26/10/2024 | SID | 14:40 | 17:30 | 2:50 | 170 | For signal ECR fuse rating checking | N-MSH | 42 | 79 | 14:50 | 17:28
9 | 26/10/2024 | ADI | 14:40 | 15:15 | 0:35 | 35 | For signal ECR fuse rating checking | ADI | 43 | 53 | 14:45 | 15:11
10 | 26/10/2024 | DKW | 14:40 | 16:20 | 1:40 | 100 | For signal ECR fuse rating checking | PNU | 44 | 67 | 14:46 | 16:11
11 | 26/10/2024 | MALB | 14:45 | 17:25 | 2:40 | 160 | For signal ECR fuse rating checking | MALB | 45 | 78 | 14:50 | 17:22
12 | 26/10/2024 | DHNL | 15:05 | 16:35 | 1:30 | 90 | For signal ECR fuse rating checking | DHG | 48 | 69 | 15:09 | 16:33
13 | 26/10/2024 | LW | 15:45 | 16:50 | 1:05 | 65 | For signal ECR fuse rating checking | PNU | 59 | 71 | 15:49 | 16:45
14 | 26/10/2024 | KKEC | 16:10 | 17:40 | 1:30 | 90 | For signal ECR fuse rating checking | ADI | 63 | 80 | 16:12 | 17:27
15 | 26/10/2024 | BCOB | 16:35 | 17:05 | 0:30 | 30 | For signal ECR fuse rating checking | GIM | 70 | 73 | 16:39 | 17:02
16 | 26/10/2024 | CLDYA | 17:15 | 17:45 | 0:30 | 30 | For signal ECR fuse rating checking | SBI | 75 | 81 | 17:16 | 17:40
17 | 26/10/2024 | SNSN | 17:25 | 18:35 | 1:10 | 70 | For signal ECR fuse rating checking | ADI | 77 | 85 | 17:28 | 18:29